## Slide 1
RESILIENCY TESTING
Validating service continuity, data integrity and controlled recovery across the technology stack
Application • Messaging • Database • Gateway • Data Centre
Cross-technology overview
Amit Tiwari
Notes: [Sources] Visual on this slide was generated with Microsoft Copilot.

## Slide 2
Session coverage
Topics covered in the resiliency testing learning session
2
S. No. | Session coverage
01 | Resiliency and its fundamentals
02 | Resiliency testing versus performance testing
03 | Application criticality and standards in Barclays
04 | Application flow and types of failovers
05 | Application server failover
06 | Database server failover
07 | Database synchronization and role of observer
Outcome: Understand what to test, where to inject failure, and what evidence demonstrates resilience.

## Slide 3
What resiliency means in a payment application
Resiliency is the ability to stay available and recover correctly when a component fails
3
Fault tolerance
Operations continue when a component fails. Example: One server or pod crashes, while remaining instances continue processing.
Failover and recovery
Traffic or processing shifts to a healthy component when the primary component fails. Example: DC1 fails and DC 2 continues processing.
Data consistency
Recovery must not cause lost payments, duplicate debits or inconsistent ledger entries. Example: Customer transfers $1000 from Account A to Account B, before the credit to Account B completes, active data base node fails, other available instance picks up
Split-brain prevention
Isolated sites must not independently process conflicting updates when only one site should have write authority. Example: Both sites attempt the same payment resulting in duplicate processing.
Resilience is proven only when the end-to-end transaction journey, data integrity, monitoring and recovery remain effective throughout failure and restoration.

## Slide 4
Resiliency testing vs performance testing
Key focus area for Performance & Resiliency Testing
4
Resiliency testing validates continuity and recovery during controlled failure. Performance testing measures behavior under workload.
Dimension | Resiliency testing | Performance testing
Primary question | What happens when a component fails? | How does the system behave under workload?
Trigger | Controlled fault, failover and recovery | Load, stress, spike, endurance or volume
Success focus | Continuity, correctness, detection and recovery | Throughput, latency, resource usage and stability
Typical evidence | Failover timestamps, routing, alerts and reconciliation | TPS, response time, utilization and errors
Relationship | Uses representative load while failure is introduced | Provides workload and capacity baseline
PERFORMANCE
Can the application handle 100 TPS within the required response time?
RESILIENCY
If a database node fails at 100 TPS, can processing recover without lost or duplicate payments?

## Slide 5
RES Cat 0 and RES Cat 1 applications
Service criticality drives resiliency scope, evidence and governance
RES Cat 0
HIGHEST CRITICALITY
Confirm mandatory scenarios, outage tolerance, recovery expectations, evidence and governance from the approved internal standard. Classification applies to the business service, not an individual server.
RES Cat 1
CRITICAL SERVICE
Confirm required scenarios, recovery behavior, tolerances, evidence and sign-off from the approved internal standard. Do not infer classification from server count or architecture alone.
Requirement | RES Cat 0 | RES Cat 1
Business criticality | Highest | Very High
Failover / recovery time | ≤ 5 mins | ≤ 4 hrs
Maximum data loss | ≤ 5 mins | ≤ 15 mins
Dual-site operation | Required | Required
5
KEY DRIVERS FOR RESILIENCY TESTING SCOPE
TYPES OF RESILIENCY EXECUTIONS
Infra changes like Oracle Upgrade
Queue Manager config changes
Major application upgrades
Gateway Changes
Application Failover
Server Failover
DB Failover
MQ Failover
Kafka Failover
Gateway Failover

## Slide 6
Application flow and failover coverage – RES CAT 0
End-to-end flow with active-active Oracle database connectivity
6
PAYMENT ENGINE
APPLICATION SECURE ZONE
SWIFT SECURE ZONE
MV-SIPN SECURITY ZONE
Instant Payments Processor
SEPA INSTANT MESSAGING INTERFACE MPO Server- Application Process
Instant Payments Gateway Connector (SWIFT AGI)
SWIFT VPN
BT
Orange
Kafka
MQ
SWIFT
70ms SLA
Active-Active Oracle DB
GL DB
SLO DB
24*7 Available 20ms SLA
GL1 GL2 SL1 SL2

## Slide 7
Application server failover | Execution steps
Controlled server shutdown and recovery validation
7
• Database ownership remains unchanged during application-server failover. • Unix team brings servers down and validates automatic restart when each server is restored.
Time | Server GL1 | Server GL2 | Server SL1 | Server SL2 | Success criteria
T – Load Test | UP | UP | UP | UP | Messages processed by GL1, GL2, SL1 and SL2.
T + 5 min | DOWN | UP | UP | UP | Messages processed by GL2, SL1 and SL2.
T + 15 min | DOWN | DOWN | UP | UP | Messages processed by SL1 and SL2.
T + 25 min | DOWN | DOWN | DOWN | UP | Messages processed only by SL2.
T + 35 min | UP | DOWN | DOWN | UP | Messages processed by GL1 and SL2.
T + 45 min | UP | DOWN | DOWN | DOWN | Messages processed only by GL1.
T + 55 min | UP | UP | DOWN | DOWN | Messages processed by GL1 and GL2.
T + 65 min | UP | UP | UP | DOWN | Messages processed by GL1, GL2 and SL1.
T + 75 min | UP | UP | UP | UP | Messages processed by GL1, GL2, SL1 and SL2.

## Slide 8
Database failover | Execution steps
8
Primary instances are stopped one at a time. When both primary instances in one cluster are unavailable, the writable role moves to the healthy node in the other cluster.
Time | DB GL1 | DB GL2 | DB SL1 | DB SL2 | Success criteria
T- Load Test | Read Write | Read Only | Read Only | Read Only | All four servers process load; primary database is active on the GL cluster.
T+10 min | Abort | Read Write | Read Only | Read Only | Primary moves to GL2 within the same site; processing resumes when GL becomes available.
T+30 min | Abort | Abort | Read Write | Read Only | Primary switches to the SL cluster; GL nodes become read only and load continues.
T+50 min | Read Only | Read Only | Abort | Read Write | Primary moves to SL2 within the same site; all servers resume processing.
T+60 min | Read Write | Read Only | Abort | Abort | Primary switches to the GL cluster; SL nodes become read only and load continues.
Database service concepts
Read / Write service
Commits or changes data. Writes route only to the approved writable role.
Read-only service
Runs queries that do not change data; routing follows the approved design.
Singleton service
One active owner or writer at a time; standby does not run concurrently.
Database synchronisation
Moves and applies changes so standby remains aligned within approved lag.

## Slide 9
Database failover | Execution steps – Active - Active
Active-active across two data centre’s: one primary database on GLO and one on SLO
9
Nodes are stopped one at a time. Each DC keeps its own primary; if one DC is fully down, the other DC continues processing until it is restored. No DB synch between cross site.
Time | DB GL1 | DB GL2 | DB SL1 | DB SL2 | Success criteria
T- Load Test starts | Read Write | Read Only | Read Write | Read Only | Both DCs active: GL1 is primary on GLO and SL1 is primary on SLO; all four servers process load.
T+10 min | Abort | Read Write | Read Write | Read Only | GL1 stopped; GL2 becomes primary on GLO within the same site; SLO continues primary on SL1
T+30 min | Abort | Abort | Read Write | Read Only | GLO cluster unavailable; SLO continues processing on SL1 with no lost or duplicate payments.
T+50 min | Read Write | Read Only | Abort | Read Write | GLO restored with GL1 as primary; SL1 stopped and SL2 becomes primary on SLO.
T+60 min | Read Write | Read Only | Abort | Abort | SLO cluster unavailable; GLO continues processing on GL1 as primary with no lost or duplicate payments.
T+70 min | Read Write | Read Only | Read Write | Read Only | All nodes restored; both DCs active again with GL1 and SL1 as primary, matching the start state.

## Slide 10
Database failover | Role of the observer
The observer checks that the databases are in sync. It does not process payments and does not store data.
Observer / Cluster manager
Watches health and DB sync
SLOUGH SITE
App SL1
App SL2
Database
Standby
GLOUCESTER SITE
App GL1
App GL2
Database
Active
Sync
What the observer does
Watch health
Monitors both sites and checks the databases are in sync
Detect failure
Spots when the active database or site becomes unavailable
One active owner
Only one active database / application owner at a time
What it does NOT do
Process payments • Store data
Enables DB failover and master takeover
10

## Slide 11
Quick quiz | Test your understanding
Four easy questions on resiliency basics — answers on the next slide
11
Question 1
One server crashes, but the other available servers keep processing payments.
Which resiliency concept is this?
Question 2
What is the restoration time of Res Cat 0 applications.
Question 3
What is the pre-req required before attempting a cross-site DB failover in Active – Passive Setup
Question 4
What situation can arise if Observer loses connection due to Network glitch/issues
Take a moment to think — answers are on the next slide.
Notes: Answers:
Q1: Resiliency is the ability to stay available and recover correctly when a component fails (slide 3).
Q2: Fault tolerance - operations continue when a component fails (slide 3).
Q3: Failover and recovery - processing shifts to a healthy component (slide 3).
Q4: Split brain - conflicting or duplicate updates; prevented by the observer allowing only one active owner (slides 3 and 10).

## Slide 12
Quick quiz | Answers
How did you do? Each answer links back to the concept covered earlier in the session
12
Question 1
Fault tolerance — operations continue when a component fails.
Covered on slide 3.
Question 2
<=5 mins Res CAT ) Applications are the most critical applications which has huge impact if not restored within the given time.
Covered on slide 5
Question 4
Split brain — both sites process conflicting or duplicate updates.
Covered on slides 3 and 10.
Resilience is proven only when payments keep flowing and recover correctly — with no lost or duplicate transactions.
DB Synchronization—
To ensure that the target site’s database has the latest committed data and can safely take over without causing data loss
Question 3
Notes: Walk through each answer and link it back to the slide where it was covered.

## Slide 13
KEY TAKEAWAYS & Q&A
Resilience is proven only when transactions, data integrity, monitoring and recovery hold through failure and restoration
Know what to test • Where to inject failure • What evidence proves resilience
Resiliency testing | Payment applications